## Instructions
Instructions To Assist With Completing This Asset Data Template
1 | This form is to be used to capture upgades to Specialist Assets included in the Project Scope as per the List of Classifications tab
2 | Please request from the IFS Asset and Planning Officer a current Asset Data List for the project location
3 | UON to supply Asset Number and Bar Code Sticker for project based on completed Asset Data Template
4 | Asset Stickers are to be placed on all Assets by the Project team
5 | Asset Stickers to be placed on outside of machinery or asset to be easily viewed where possible
6 | UON Classification is predefined based on the Classification Decription chosen (Column C)
7 | Seek further information from IFS Campus Services staff where unsure of asset classification and sticker placement location
8 | Label Description refers to Traffolyte Labelling required under the Design Guildelines if applicable
9 | UON Room Number shall be as per UON Archibus location floor plan drawings
10 | Where an asset is located on the roof enter ROOF in the room number field
11 | Where an asset is located outside of the building i.e attached to the outside wall, please use EXTWALL in the room number field
12 | Please use one line per Asset
13 | Add additional rows to the spreadsheet as required
14 | For all decommissioned assets, please also complete the separate Decommissioned Asset Data Template as items are removed

## Specialist Services Asset Data
|  | Please read the instructions prior to completing this form | THE UNIVERSITY OF NEWCASTLE IFS OPERATIONS ASSET COLLECTION DATA
SPECIALIST SERVICES ASSETS
* COMPULSORY FIELD
UON ASSET NUMBER* | UON CLASSIFICATION (do not edit) | CLASSIFICATION DESCRIPTION* | LABEL DESCRIPTION* | UON ROOM NUMBER* | COMPLETION DATE* | ESTIMATED END OF LIFE | WARRANTY END DATE | REPLACEMENT $ | MAKE* | MODEL* | SERIAL NUMBER* | Additional Notes/Comments
| AUTOCLVE | Autoclaves
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A

## List of Classifications
Description | Classification | Parent Classification
Access Control - Controllers | ACCESSCC | SPECIALIST SERVICES
Access Control - Power Supply Units | ACCESSCPSU | SPECIALIST SERVICES
Air Compressed tank | TKAIR | SPECIALIST SERVICES
Air Compressors | ACOMPR | SPECIALIST SERVICES
Air Curtain | ACURTAIN | SPECIALIST SERVICES
Autoclaves | AUTOCLVE | SPECIALIST SERVICES
Automated Lockers | LOCKERS | SPECIALIST SERVICES
Automatic Doors | AUTODOOR | SPECIALIST SERVICES
Automatic Gates | AUTOGATE | SPECIALIST SERVICES
Automatic Roller Shutters | AUTOROLLER | SPECIALIST SERVICES
Automatic Skylight Systems | AUTOSKYLIGHT | SPECIALIST SERVICES
Automatic Windows and Louvres | AUTOWINDOW | SPECIALIST SERVICES
Boiler high pressure steam | BLRSTHP | SPECIALIST SERVICES
Commercial Catering Equipment - Combi Oven | CCECO | SPECIALIST SERVICES
Commercial Catering Equipment - Commercial Dishwasher | CCECD | SPECIALIST SERVICES
Commercial Catering Equipment - Commercial Microwave Oven | CCECMO | SPECIALIST SERVICES
Commercial Catering Equipment - Commercial Refrigeration | CCECR | SPECIALIST SERVICES
Commercial Catering Equipment - Electric Bain Marie | CCEEBM | SPECIALIST SERVICES
Commercial Catering Equipment - Electric Deep Fryer | CCEEDF | SPECIALIST SERVICES
Commercial Catering Equipment - Electric Food Warmer | CCEEFW | SPECIALIST SERVICES
Commercial Catering Equipment - Electric Grill | CCEEG | SPECIALIST SERVICES
Commercial Catering Equipment - Electric Hot Box | CCEEHB | SPECIALIST SERVICES
Commercial Catering Equipment - Electric Oven | CCEEO | SPECIALIST SERVICES
Commercial Catering Equipment - Electric Plate Warmer | CCEEPW | SPECIALIST SERVICES
Commercial Catering Equipment - Gas Boiler | CCEGB | SPECIALIST SERVICES
Commercial Catering Equipment - Gas Bratt Pan | CCEGBP | SPECIALIST SERVICES
Commercial Catering Equipment - Gas Deep Fryer | CCEGDF | SPECIALIST SERVICES
Commercial Catering Equipment - Gas Flat Plate | CCEGFP | SPECIALIST SERVICES
Commercial Catering Equipment - Gas Grill | CCEGG | SPECIALIST SERVICES
Commercial Catering Equipment - Gas Oven | CCEGO | SPECIALIST SERVICES
Commercial Catering Equipment - Gas Wok Burner | CCEGWB | SPECIALIST SERVICES
Commercial Catering Equipment - Heating Food Display | CCEHFD | SPECIALIST SERVICES
Commercial Dryer | COMDRYER | SPECIALIST SERVICES
Commercial Washing Machine | COMWASHER | SPECIALIST SERVICES
Condition Monitoring System - Alarm Panel | CMSALARM | SPECIALIST SERVICES
Condition Monitoring System - Amonia Sensor | CMSNH3 | SPECIALIST SERVICES
Condition Monitoring System - Carbon Dioxide Sensor | CMSCO2 | SPECIALIST SERVICES
Condition Monitoring System - Carbon Monoxide Sensor | CMSCO | SPECIALIST SERVICES
Condition Monitoring System - Controller | CMSCONT | SPECIALIST SERVICES
Condition Monitoring System - Display Panel | CMSDISPLAY | SPECIALIST SERVICES
Condition Monitoring System - Formaldehyde | CMSCH2O | SPECIALIST SERVICES
Condition Monitoring System - Hydrogen Sensor | CMSH2 | SPECIALIST SERVICES
Condition Monitoring System - LEL Gas Detector | CMSLEL | SPECIALIST SERVICES
Condition Monitoring System - Methane Sensor | CMSCH4 | SPECIALIST SERVICES
Condition Monitoring System - Natural Gas Supply | CMSNGS | SPECIALIST SERVICES
Condition Monitoring System - Refrigerant | CMSREFRIG | SPECIALIST SERVICES
Condition Monitoring System - Temperature | CMSTEMP | SPECIALIST SERVICES
Condition Monitoring System - Tin Oxide Sensor | CMSCNO2 | SPECIALIST SERVICES
Defibrillator | DEFIB | SPECIALIST SERVICES
Desiccant Compressed Air Dryers | ADD | SPECIALIST SERVICES
Disability Furniture | FURNDIS | SPECIALIST SERVICES
Duress Alarm Points | DURESS | SPECIALIST SERVICES
Electric Vehicle Charging Station | EVCHARGE | SPECIALIST SERVICES
Emergency Phone | EMPHONE | SPECIALIST SERVICES
FANS - Fume Hood Extraction Fans | FANFUME | SPECIALIST SERVICES
FD Cooler/Freezer remote condenser unit | FDCRRC | SPECIALIST SERVICES
FM Tools and Equipment | FMTOOLS | SPECIALIST SERVICES
Forced draft coolers-coolers/freezers | FDCR | SPECIALIST SERVICES
Fume Cabinet Fume Scrubber | FCABFS | SPECIALIST SERVICES
Fume cabinets | FCAB | SPECIALIST SERVICES
Gas Manifold - AIR | GASMANAIR | SPECIALIST SERVICES
Gas Manifold - Ar Argon | GASMANAR | SPECIALIST SERVICES
Gas Manifold - C2H2 Acetylene | GASMANC2H2 | SPECIALIST SERVICES
Gas Manifold - CARBOGEN | GASMANCARBOGEN | SPECIALIST SERVICES
Gas Manifold - CH4 Methane | GASMANCH4 | SPECIALIST SERVICES
Gas Manifold - CO2 Carbon Dioxide | GASMANCO2 | SPECIALIST SERVICES
Gas Manifold - H2 Hydrogen | GASMANH2 | SPECIALIST SERVICES
Gas Manifold - He Helium | GASMANHE | SPECIALIST SERVICES
Gas Manifold - N2 Nitrogen | GASMANN2 | SPECIALIST SERVICES
Gas Manifold - N2O Nitrous Oxide | GASMANN2O | SPECIALIST SERVICES
Gas Manifold - O2 - Oxygen | GASMANO2 | SPECIALIST SERVICES
Gas Regulator - AIR | GASREGAIR | SPECIALIST SERVICES
Gas Regulator - Ar Argon | GASREGAR | SPECIALIST SERVICES
Gas Regulator - C2H2 - Acetylene | GASREGC2H2 | SPECIALIST SERVICES
Gas Regulator - CH4 Methane | GASREGCH4 | SPECIALIST SERVICES
Gas Regulator - CO2 Carbon Dioxide | GASREGCO2 | SPECIALIST SERVICES
Gas Regulator - COMPRESSED AIR | GASREGCOMPAIR | SPECIALIST SERVICES
Gas Regulator - H2 Hydrogen | GASREGH2 | SPECIALIST SERVICES
Gas Regulator - HE Helium | GASREGHE | SPECIALIST SERVICES
Gas Regulator - N2 Nitrogen | GASREGN2 | SPECIALIST SERVICES
Gas Regulator - N2O - Nitrous Oxide | GASREGN2O | SPECIALIST SERVICES
Gas Regulator - O2 Oxygen | GASREGO2 | SPECIALIST SERVICES
Gas Regulator Propane | GASREGPROPANE | SPECIALIST SERVICES
Gas Regulator Spare | GASREGSPARE | SPECIALIST SERVICES
Golf Cart | GOLF | SPECIALIST SERVICES
Heating water generators-Pool | HWGENPOOL | SPECIALIST SERVICES
Parking Ticket Machine | PTICKET | SPECIALIST SERVICES
Physical Containment 1 Laboratorys | PCLAB1 | SPECIALIST SERVICES
Physical Containment 2 Laboratorys | PCLAB2 | SPECIALIST SERVICES
Physical Containment 3 Laboratorys | PCLAB3 | SPECIALIST SERVICES
Plant Growth Cabinet Condenser Unit | PGCABC | SPECIALIST SERVICES
Pool | POOL | SPECIALIST SERVICES
Pool Equipment and Accessories | PEQUIP | SPECIALIST SERVICES
Pool Pumps | PMPPOOL | SPECIALIST SERVICES
Pool Water Systems | PW | SPECIALIST SERVICES
Rackwasher | RACKWASHER | SPECIALIST SERVICES
Refrigerated Compressed Air Dryers | ADR | SPECIALIST SERVICES
Roof Height Safety Equipment | ROFHSE | SPECIALIST SERVICES
Salto Electronic Door Locks | SALTO | SPECIALIST SERVICES
Tanks - Storage Gas | TKSGAS | SPECIALIST SERVICES
Temperature Controlled Environment Alarm Point | TCEPOINT | SPECIALIST SERVICES
Traka Cabinets | TRAKA | SPECIALIST SERVICES
Vacuum System | VACUUM | SPECIALIST SERVICES
Water Filtration - Rainwater | WFRAIN | SPECIALIST SERVICES
Water Filtration - Reverse Osmosis | WFROS | SPECIALIST SERVICES
Water Filtration - Steam Boilers | WFBLRST | SPECIALIST SERVICES
Water Filtration-Potable water filters | WFPOTW | SPECIALIST SERVICES
Water Filtration-Sand filters | WFFS | SPECIALIST SERVICES