## Instructions
Instructions To Assist With Completing This Asset Data Template
1 | This form is to be used to capture upgades to Inground Services Assets as included in the Project Scope only
2 | Please request from the IFS Asset and Planning Officer a current Asset Data List for the project location
3 | UON to supply Asset Number and Bar Code StickerS for project based on completed Asset Data Template
4 | Asset Stickers are to be placed on all assets by the Project team
5 | Asset Stickers to be placed on outside of machinery or asset to be easily viewed where possible
6 | UON Classification is predefined based on the Classification Decription chosen (Column C)
7 | Seek further information from IFS Campus Services staff where unsure of asset classification and sticker placement location
8 | Label Description refers to Traffolyte Labelling required under the Design Guildelines if applicable
9 | UON Campus Precinct shall be as per location identified on the Precinct Descriptions tab, see attached Precinct Maps for futher clarification
10 | Where an asset is located on the roof enter ROOF in the room number field
11 | Where an asset is located outside of the building i.e attached to the outside wall, please use EXTWALL in the room number field
12 | Please use one line per Asset
13 | Add additional rows to the spreadsheet as required
14 | For all decommissioned assets, please also complete the separate Decommissioned Asset Data Template as items are removed

## Inground Asset Data
|  | Please read the instructions prior to completing this form | THE UNIVERSITY OF NEWCASTLE IFS OPERATIONS ASSET COLLECTION DATA
INGROUND SERVICES ASSETS
* COMPULSORY FIELD
UON ASSET NUMBER* | UON CLASSIFICATION (do not edit) | CLASSIFICATION DESCRIPTION* | LABEL DESCRIPTION* | UON CAMPUS PRECINCT* | COMPLETION DATE* | ESTIMATED END OF LIFE | WARRANTY END DATE | REPLACEMENT $ | MAKE* | MODEL* | SERIAL NUMBER* | Additional Notes/Comments
| Valve - Cold Water | VALVECW
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A

## List of Classifications
Description | Classification | Parent Classification
ELECPIT | Electrical Cable Pits | INGROUND
ELECLVC | Electrical Cables Low Voltage | INGROUND
PIPECHW | Pipe - HVAC Chilled Water | INGROUND
VALVECHW | Valves - HVAC Chilled Water | INGROUND
VALVEHW | Valves - HVAC Heating Water | INGROUND
PIPEHW | Pipe - HVAC Heating Water | INGROUND
VALVECW | Valve - Cold Water | INGROUND
VALVEFW | Valve - Fire Water | INGROUND
VALVEG | Valve - Gas | INGROUND
VALVEPIT | Valve Pits - Cold Water / Fire Water | INGROUND
PIPECW | Pipe - Cold Water | INGROUND
PIPEFW | Pipe - Fire Services Water | INGROUND
PIPEG | Pipe - Gas | INGROUND
PIPESEWRM | Pipe - Sewer Rising Main | INGROUND
PIPESEWGM | Pipe - Sewer Gravity Main | INGROUND
PIPESTORM | Pipe - Storm Water | INGROUND
COMMSPIT | Communications Pit | INGROUND
GASPIT | Gas Pits | INGROUND
COMMSC | Communication Cables | INGROUND
STORMPIT | Stormwater Pit | INGROUND
SEWPIT | Sewer Pit | INGROUND
ELECLVCL | Electrical Cables Low Voltage Lighting | INGROUND

## Precinct Descriptions
Campus | Location | Description | Notes
CALLAGHAN | CALPRE1A | Callaghan Grounds Precinct 1 - Area A | Refer to Precinct Map
CALLAGHAN | CALPRE1B | Callaghan Grounds Precinct 1 - Area B | Refer to Precinct Map
CALLAGHAN | CALPRE1C | Callaghan Grounds Precinct 1 - Area C | Refer to Precinct Map
CALLAGHAN | CALPRE1D | Callaghan Grounds Precinct 1 - Area D | Refer to Precinct Map
CALLAGHAN | CALPRE2A | Callaghan Grounds Precinct 2 - Area A | Refer to Precinct Map
CALLAGHAN | CALPRE2B | Callaghan Grounds Precinct 2 - Area B | Refer to Precinct Map
CALLAGHAN | CALPRE3A | Callaghan Grounds Precinct 3 - Area A | Refer to Precinct Map
CALLAGHAN | CALPRE3B | Callaghan Grounds Precinct 3 - Area B | Refer to Precinct Map
CALLAGHAN | CALPRE3C | Callaghan Grounds Precinct 3 - Area C | Refer to Precinct Map
CALLAGHAN | CALPRE3D | Callaghan Grounds Precinct 3 - Area D | Refer to Precinct Map
CALLAGHAN | CALPRE3E | Callaghan Grounds Precinct 3 - Area E | Refer to Precinct Map
CALLAGHAN | CALPRE3F | Callaghan Grounds Precinct 3 - Area F | Refer to Precinct Map
CALLAGHAN | CALPRE4A | Callaghan Grounds Precinct 4 - Area A | Refer to Precinct Map
CALLAGHAN | CALPRE4B | Callaghan Grounds Precinct 4 - Area B | Refer to Precinct Map
CALLAGHAN | CALPRE4C | Callaghan Grounds Precinct 4 - Area C | Refer to Precinct Map
CALLAGHAN | CALPRE4D | Callaghan Grounds Precinct 4 - Area D | Refer to Precinct Map
CALLAGHAN | CALPRE5A | Callaghan Grounds Precinct 5 - Area A | Refer to Precinct Map
CALLAGHAN | CALPRE5B | Callaghan Grounds Precinct 5 - Area B | Refer to Precinct Map
CALLAGHAN | CALPRE5C | Callaghan Grounds Precinct 5 - Area C | Refer to Precinct Map
CALLAGHAN | CALPRE6A | Callaghan Grounds Precinct 6 - Area A | Refer to Precinct Map
CALLAGHAN | CALPRE6B | Callaghan Grounds Precinct 6 - Area B | Refer to Precinct Map
CALLAGHAN | CALPRE7A | Callaghan Grounds Precinct 7 - Area A | Refer to Precinct Map
CALLAGHAN | CALPRE7B | Callaghan Grounds Precinct 7 - Area B | Refer to Precinct Map
CALLAGHAN | CALPRE7C | Callaghan Grounds Precinct 7 - Area C | Refer to Precinct Map
CALLAGHAN | CALPRE7D | Callaghan Grounds Precinct 7 - Area D | Refer to Precinct Map
CALLAGHAN | CALPRE8A | Callaghan Grounds Precinct 8 - Area A | Refer to Precinct Map
CALLAGHAN | CALPRE8B | Callaghan Grounds Precinct 8 - Area B | Refer to Precinct Map
CALLAGHAN | CALPRE8C | Callaghan Grounds Precinct 8 - Area C | Refer to Precinct Map
OURIMBAH | OURPRE1 | Ourimbah Precinct 1 - Western Entries & Car Parks | Refer to Precinct Map
OURIMBAH | OURPRE2 | Ourimbah Precinct 2 - Northern Zone | Refer to Precinct Map
OURIMBAH | OURPRE3 | Ourimbah Precinct 3 - Central Zone | Refer to Precinct Map
OURIMBAH | OURPRE4 | Ourimbah Precinct 4 - Southern Zone | Refer to Precinct Map
OURIMBAH | OURPRE5 | Ourimbah Precinct 5 - Glasshouse Zone | Refer to Precinct Map
NEWCASTLE | NEWCPRE1 | Newcastle City Grounds Precinct 1 - Conservatorium of Music | Refer to Precinct Map
NEWCASTLE | NEWCPRE1A | Newcastle City Grounds Precinct 1 - Area A car park off Charles street | Refer to Precinct Map
NEWCASTLE | NEWCPRE2 | Newcastle City Grounds Precinct 2 - TPI House Site | Refer to Precinct Map
NEWCASTLE | NEWCPRE3 | Newcastle City Grounds Precinct 3 - Northumberland House | Refer to Precinct Map
NEWCASTLE | NEWCPRE4 | Newcastle City Grounds Precinct 4 - Newspace & UNH Site | Refer to Precinct Map
NEWCASTLE | NEWCPRE5 | Newcastle City Grounds Precinct 5 - Honeysuckle Development Site | Refer to Precinct Map
PORT MACQUARIE | HFPRECINCT | Highfields Student Accomodation Precinct (Grounds)
TAMWORTH | TECPRECINCT1 | Tamworth TEC Student Accomodation Precinct (Grounds)
GOSFORD | GOS | Gosford Campus
JOHN HUNTER | JHHS | John Hunter Site
MAYFIELD | MAY | Mayfield
TAREE | TAR | Taree